## Electrical
Code: | ST17CRM-Class-Elect
Issue 3 | February 2022
Classification | Testing Laboratories
Sub Classification | Electrical Testing
Standard | ISO 17025 T
FIXED TEXT | Descriptor 1 |  | Descriptor 2 | FREE TEXT
Code | Electrical testing field | Sub code | Type of test | Level 1 Heading | Level 2 Heading | Level 3 Heading | Level 4 Heading | Level 5 Heading
Level 1 Descriptions | Level 1 Descriptions | Level 2 Descriptions | Level 2 Descriptions | Test Description | Equipment Tested | Measurement Units (e.g. Amp, V, Hz) | Range of Measurement | Std. Ref & SOP
301 | Electromagnetic compatibility | .01 | Emission testing
|  | .02 | Immunity testing
|  | .03 | Magnetic field emissions
|  | .99 | Other
302 | Approval & Performance tests | .01 | Radio communications equipment
|  | .02 | Electrical appliances and accessories
|  | .03 | Telecommunications equipment
|  | .99 | Other
303 | Tests on insulating, conducting and resistance materials | 0.01 | Electric strenght tests
|  | 0.02 | Insulation resistance tests
|  | 0.03 | Surface and volume resistivity tests
|  | 0.04 | Loss tangent tests
|  | 0.05 | Relative permittivity tests
|  | 0.06 | Direct voltage tests
|  | 0.07 | Alternating voltage tests
|  | 0.08 | Tracking
|  | 0.09 | Dielectric dispersion coefficient
|  | 0.11 | Moisture absorption
|  | 0.13 | Ageing
|  | 0.14 | Partial discharge tests
|  | 0.2 | Impulse voltage tests
|  | 0.31 | Thermal stability tests
|  | .32 | Resistance
|  | .33 | Conductivity
|  | 0.99 | Other tests
304 | Capacitance
305 | Waveform measurement | 0.01 | Frequency characteristics
|  | 0.02 | Input characteristics
|  | 0.03 | Timing characteristics
|  | 0.04 | Distortion
|  | 0.05 | Other characteristics
306 | High Voltage Testing | 0.11 | Direct voltage tests
|  | 0.12 | Alternating voltage tests
|  | 0.13 | Impulse voltage tests
|  | 0.14 | Impulse current tests
|  | 0.15 | Partial discharge tests
|  | 0.16 | Dielectric tests
|  | 0.17 | Switching impulse voltage tests
|  | 0.99 | Other tests
307 | High Power testing | 0.01 | Short time withstand and peak withstand current tests
|  | 0.02 | Short circuit making and breaking capacities
|  | 0.03 | Making and breaking capacities
|  | 0.04 | Overload performance
|  | 0.05 | Electrical endurance
|  | 0.07 | Arcing fault tests due to internal fault
|  | 0.08 | Determination of cut-off current characteristics
|  | 0.09 | Determination of joule integral characteristic
|  | 0.12 | Temperature rise tests
|  | 0.99 | Other tests
308 | Environmental tests | 0.11 | Cold tests
|  | 0.12 | Dry heat tests
|  | 0.13 | Damp heat tests
|  | 0.14 | Impact tests
|  | 0.15 | Vibration tests
|  | 0.16 | Acceleration tests
|  | 0.17 | Storage tests
|  | 0.18 | Mould growth tests
|  | 0.19 | Corrosion tests
|  | 0.2 | Low air pressure tests
|  | 0.21 | Change of temperature tests
|  | 0.22 | Sealing tests
|  | 0.23 | Solar radiation tests
|  | 0.24 | Soldering tests
|  | 0.25 | Robustness of terminations tests
|  | 0.31 | Combined tests
|  | 0.99 | Other tests
309 | EMC | .01 | Electrostatic discharge testing
|  | .02 | Radiated immunity testing
|  | .03 | Electrical fast transient testing
|  | .04 | Surge testing
|  | .05 | Conducted immunity testing
|  | .06 | Magnetic field immunity testing
|  | .07 | Pulse magnetic field testing
|  | .08 | Voltage dips, short interruptions testing
|  | .09 | Harmonics and interharmonics
|  | .10 | Automotive transients
|  | .11 | Harmonics and interharmonics testing
|  | .12 | Radiated immunity testing, near field

## Scope Guidance
CAB Guidance for Mapping 2016 Scopes to INAB CRM
Columns 1 and 2 are fixed text within the INAB system
Columns 3-6 are free text completed by the CAB
Columns 1-4 are PRINTED on the scope
Columns 1-6 are VISIBLE to INAB and the CAB
Note: not all columns are applicable to all scope types
Previous P9 Chapter 3
Lab must retain product/equipment list of types tested
Units of measurement = amp, volt, Hz, farad
A site is a location under the control of the CAB where conformity assessment activity covered by the scope of accreditation is performed
The main changes from the previous version are:
New Code | Previous Code | Examples/Comment
301 | 341 | Conducted interference
radiated interference
301 | 342 | Conducted RF immunity
Radiated electrical field immunity
Electrical fast transients immunity
Surge immunity
302 | 376, 380, 385
305 | 313
306 | 340
307 | 345
308 | 360
309
FLEXIBLE SCOPE
for laboratories with a flexible scope, the following footnotes apply (without variation):
1 Range of measurement may be extended
2 Parameters may be added
3 Test matrices may be added
4 Equipment/kit