## Construction
Code | ST4CRM Class-Construct
Issue 6 | June 2021
Classification | Testing Laboratories
Sub Classification | Construction Testing
Standard: | ISO 17025 T
FIXED TEXT | Descriptor 1 |  | Descriptor 2 | FREE TEXT
Code | Construction Material/Product | Sub Code | Tests | Level 1 Heading | Level 2 Heading | Level 3 Heading | Level 4 Heading
Level 1 Descriptions | Level 1 Descriptions | Level 2 Descriptions | Level 2 Descriptions | Matrix/Methodology (where applicable) | Equipment/Technique | Range of measurement (where applicable) | Standard Reference/SOP
212 | Concrete | 212.01 | Sampling
|  | 212.02 | Sampling by Coring
|  | 212.03 | Sample Reduction
|  | 212.04 | Workability
|  | 212.05 | Degree of Compactability
|  | 212.06 | Air Content
|  | 212.07 | Cored Specimen Examination
|  | 212.08 | Drilling for Dust Samples
|  | 212.09 | Making Specimens for Strength Tests
|  | 212.1 | Curing Specimens for Strength Tests
|  | 212.11 | Compressive Strength Tests (Cubes and Cylinders)
|  | 212.12 | Tensile Splitting Test
|  | 212.13 | Density
|  | 212.14 | Depth of Penetration of Water Under Pressure
|  | 212.15 | Stabilised Secant Modulus of Elasticity
|  | 212.16 | Flexural Strength
|  | 212.17 | Mass per Unit Volume of Hardened Concrete
213 | Reinforced Concrete | 213.18 | Depth of Carbonation
|  | 213.19 | Resistivity
|  | 213.2 | Location of Reinforcement
|  | 213.21 | Half-Cell Potential of Uncoated Reinforcing Steel in Concrete
|  | 213.22 | Visual and Hammer Survey
|  | 213.23 | Surface Hardness
|  | 213.24 | Ultra Sonic Pulse Velocity
|  | 212.99 | Other Tests
214 | Soils (Site Tests) | 0.01 | Resistivity
|  | 0.02 | Redox Potential
|  | 0.03 | Moisture Condition Value
|  | 0.04 | In-situ Density Tests
|  | 0.05 | In-situ Penetration Tests DCP, SPT and Proctor)
|  | 0.06 | In-situ Vertical Deformation and Strength Tests (PLT)
|  | 0.07 | Equivalent CBR Value determined from PLT & DCP Data
|  | 0.08 | Penetration Resistance (CPT)
|  | 0.09 | Electronic Friction and Piezocone (CPT)
|  | 0.1 | Falling Weight Deflectometer (FWD)
215 | Aggregates (Chemical Tests) | 0.01 | Water Soluble Chloride Salts
|  | 0.02 | Water Soluble Sulphates
|  | 0.03 | Total Sulphur Content
|  | 0.04 | Acid Soluble Sulfates
|  | 0.05 | Acid Soluble Sulphides
|  | 0.06 | Light Weight Contaminators
|  | 0.07 | Potential Presence of Humus
|  | 0.08 | Fluvo Acid Content
|  | 0.09 | Water Solubility-excl Fillers
|  | 0.1 | Constituent Materials
|  | 0.11 | Frost Heave
|  | 0.12 | Aggregate Crushing Value (ACV)
|  | 0.13 | Ten percent Fines Value
|  | 0.14 | Aggregate Impact Value
|  | 0.15 | Acid Soluble Material Content
|  | 0.16 | Alkali Silica Reactivity
|  | 0.17 | Carbon Dioxide Content
|  | 0.99 | Other Tests
216 | Aggregates | 0.01 | Sampling
|  | 0.02 | Sampling Stockpiles by Hand
|  | 0.03 | Sample Reduction
|  | 0.04 | Particle Size Distribution
|  | 0.05 | Flakiness Index
|  | 0.06 | Shape Index
|  | 0.07 | Percent Crushed and Broken Surfaces
|  | 0.08 | Shell Content
|  | 0.09 | Assessment of Fines
|  | 0.1 | Constituents of Coarse Recycled Aggregates
|  | 0.11 | Microdeval Co-Efficient
|  | 0.12 | Railway Ballast: Micro Deval Co-Efficient
|  | 0.13 | Resistance to Fragmentation
|  | 0.14 | Railway Ballast: Resistance to Fragmentation
|  | 0.15 | Loose Bulk Density and Voids
|  | 0.16 | Apparent Bulk Density of Filler in Keroscene
|  | 0.17 | Water Content
|  | 0.18 | Particle Density and Water Absorption
|  | 0.19 | Particle Density of Fillers
|  | 0.2 | Polished Stone Value
|  | 0.21 | Aggregate Abrasion Value
|  | 0.22 | Resistance to Freezing & Thawing
|  | 0.23 | Magnesium Sulphate Soundness
|  | 0.24 | Drying Shrinkage
|  | 0.99 | Other Tests
217 | Bituminous Materials | 0.01 | Sampling
|  | 0.02 | Preparation of Samples
|  | 0.03 | Determination of Dimensions
|  | 0.04 | Specimen Preparation
|  | 0.05 | Specimen Compaction
|  | 0.06 | Marshall Test and Mix Design
|  | 0.07 | Laboratory Mixing
|  | 0.08 | Thickness of Bituminous Pavement Layers
|  | 0.09 | Hot Sand Test for Adhesivity
|  | 0.1 | Course Foreign Matter in Reclaimed Asphalt
|  | 0.11 | Torque Bond Method
|  | 0.12 | Sensitivity to Diesel
|  | 0.13 | Measurement of Temperature
|  | 0.14 | Soluble Binder Content
|  | 0.15 | Binder Content by Ignition
|  | 0.16 | Binder Content - Difference
|  | 0.17 | Binder Recovery
|  | 0.18 | Particle Size Distribution
|  | 0.19 | Maximum Density
|  | 0.2 | Affinity between Aggregate and Bitumen
|  | 0.21 | Sensitivity to Water
|  | 0.22 | Binder Drainage
|  | 0.23 | Permeability of Bituminous Specimen - Vertical
|  | 0.24 | Permeability of Bituminous Specimen - Horizontal
|  | 0.25 | Wheel Tracking
|  | 0.26 | Indirect Tensile Strength
|  | 0.27 | Stiffness/ Indirect Tension
|  | 0.28 | Bulk Density of Cores
|  | 0.29 | Air Voids Content
|  | 0.3 | Percent Voids
|  | 0.31 | Voids Content in Mineral Aggregate
|  | 0.32 | Conventional Refusal Density
|  | 0.33 | Percentage Refusal Density (PRD)
|  | 0.34 | Particle Loss
|  | 0.35 | Texture Depth (Sand Patch)
|  | 0.36 | Pavement Surface Macrotexture Depth
|  | 0.37 | In-situ density
|  | 0.38 | Bitumen Recovery
|  | 0.39 | Needle Penetration
|  | 0.4 | Softening Point
|  | 0.41 | Solubility
|  | 0.42 | Fraas Breaking Point
|  | 0.43 | Viscosity by Rotary Spindle Rheometer
|  | 0.44 | Storage Stability
|  | 0.45 | Flexural Creep Stiffness
|  | 0.46 | Resistance to Hardening
|  | 0.47 | Accelerated Long Term Ageing
|  | 0.48 | Complex Shear Modulus and Phase Angle
|  | 0.49 | Distillation
|  | 0.5 | Needle Penetration and Softening Point
|  | 0.51 | Sieve Test and Storage Stability
|  | 0.52 | Viscosity
|  | 0.53 | Demulsibility
|  | 0.54 | Particle Polarity
|  | 0.55 | Solubility
|  | 0.56 | Water Content
|  | 0.57 | Breaking Value
|  | 0.58 | Efflux Time
|  | 0.59 | Compressive Strength (Duriez Test)
218 | Soils for Geotechnical Investigation | 0.01 | Water Content
| & Testing:Lab Testing of Soils | 0.02 | Bulk Density
| Soils (Chemical Tests) | 0.03 | Organic Matter
|  | 0.04 | Mass Loss on Ignition
|  | 0.05 | Sulphate Content
|  | 0.06 | Carbonate Content
|  | 0.07 | Chloride Content
|  | 0.08 | Total Dissolved Solids
|  | 0.09 | pH
219 | Soils for Civil Engineering Purposes | 0.01 | Sampling incl Sample Reduction
|  | 0.02 | Moisture Content
|  | 0.03 | Saturation Moisture Content
|  | 0.04 | Liquid Limit
|  | 0.05 | Plastic Limit
|  | 0.06 | Plasticity Index
|  | 0.07 | Liquidity Index
|  | 0.08 | Shrinkage
|  | 0.09 | Density
|  | 0.1 | Particle Density
|  | 0.11 | Particle Size Distribution inc Sedimentation Tests
|  | 0.12 | Uniformity Coefficient
|  | 0.13 | Dry Density/Moisture Content Relationship
|  | 0.14 | Maximum and Minimum Density
|  | 0.15 | Moisture Condition Value (MCV)
|  | 0.16 | Chalk Crushing Value
|  | 0.17 | California Bearing Ratio
|  | 0.18 | One Dimension Consolidation
|  | 0.19 | Swelling and Collapse Characteristics
|  | 0.2 | Permeability (Constant and Falling Head Tests)
|  | 0.21 | Dispersibility
|  | 0.22 | Frost Heave
|  | 0.23 | Soil Suction
|  | 0.24 | Consolidation Properties using Hydraulic Consolidation Cell
|  | 0.25 | Shear Strength (Triaxial Cell, Shear Box. Vane)
|  | 0.26 | Shear Strength Effective Stress
|  | 0.27 | Permeability in a Triaxial Cell
220 | Highways/Roads and other paved surfaces inc airfields | 0.01 | Sampling of Pavement Material by Coring
|  | 0.02 | Road Core Logging
|  | 0.03 | Measurement of Layer Thickness
|  | 0.04 | Determination of Maximum Density
|  | 0.05 | Texture Depth (Sand Patch)
|  | 0.06 | Pavement surface macrotexture depth
|  | 0.07 | Surface Regularity (Rolling Straight Edge)
|  | 0.08 | Irregularity Measurement by Straight Edge
|  | 0.09 | Horizontal Drainability
|  | 0.1 | Slip/Skid Resistance - Pendulum Test
|  | 0.11 | In-situ Density
|  | 0.12 | Strength, Stiffness and Elasticity (FWD)
|  | 0.13 | Surface Skid Resistance (GRIP and SCRIM Tests)
|  | 0.14 | Texture Depth (RSP Tester)
|  | 0.15 | Longitudinal & Transverse Surface Profile (RSP Tester)
|  | 0.16 | Rate of Spread of Binder & Pre Coated Chips inc Depot Tray Test
221 | Road Marking Materials | 0.01 | Binder Content
|  | 0.02 | Glass Bead Content
|  | 0.03 | Retroreflectivity of Reflective Properties
222 | Rock | 0.01 | Petrographic Description
|  | 0.02 | Water Content,Porosity,Density,Absorption
|  | 0.03 | Slake Durability and Swelling
|  | 0.04 | Hardness and Abrasiveness
|  | 0.05 | Shore Hardness
|  | 0.06 | Point Load Test
|  | 0.07 | Sound Velocity
|  | 0.08 | Indentation Hardness
|  | 0.09 | Uniaxial Compressive Strength and Deformability
|  | 0.1 | Triaxial Compressive Strength
|  | 0.11 | Shear Strength
|  | 0.12 | Tensile Strength
|  | 0.13 | Youngs Modulus
|  | 0.99 | Other Tests
223 | Pedestrian Surfaces | 0.01 | Surface Roughness
|  | 0.02 | Slip Resistance-Pendulum Test-Wet & Dry surfaces
|  | 0.99 | Other Tests
224 | Refractories | 0.01 | Sampling
|  | 0.02 | Cold Compressive Strength
|  | 0.03 | Cold Modulus of Rupture
|  | 0.99 | Other Tests
225 | Cement and Clay Based Products | 0.1 | Clay Pipes and Fittings
|  | 0.2 | Concrete Culverts
|  | 0.3 | Concrete Pipes
|  | 0.4 | Fibre Cement Pipes and Fittings
|  | 0.5 | Fibre Cement Flat Sheet
|  | 0.6 | Fibre Cement Corrugated Sheet
|  | 0.99 | Other Tests
226 | Gypsum | 0.01 | Sampling
|  | 0.1 | Gypsum Plaster for Building Purposes
|  | 0.2 | Gypsum Plaster Board
|  | 0.3 | Fibrous Plaster Products
|  | 0.4 | Glass Fibre Reinforced Gypsum Plaster
|  | 0.99 | Other Tests
227 | Unbound & Hydraulically Bound Mixtures | 0.01 | Laboratory Reference Density
|  | 0.02 | Water Content
|  | 0.03 | Cyclic Load Triaxial Test
|  | 0.04 | California Bearing Ratio
|  | 0.05 | Immediate Bearing Index and Swelling
|  | 0.06 | Degree of Pulverisation
|  | 0.07 | Accelerated Swelling Test for Soils Treated with Lime or other Hydraulic Binders
|  | 0.08 | Manufacture of Test Specimens
228 | Foundational Materials/Structures | 0.01 | Pile Integrity -Ultrasonic Crosshole Logging
|  | 0.02 | Pile Integrity-Low Strain Impact
|  | 0.03 | Pile Integrity-Transient Dynamic Response
|  | 0.04 | Pile Integrity-Thermal Test
|  | 0.05 | High Strain Dynamic Load Pile Test with CAPWAP Load
|  | 0.06 | Static Maintained Load Pile Test (Compression & Tension)
229 | Construction Products | 0.01 | Dimensions
|  | 0.02 | Compressive Strength
|  | 0.03 | Water Absorption
|  | 0.04 | Net and Gross Bulk Density
|  | 0.05 | Initial Rate of Suction
|  | 0.06 | Net Volume and Percentage Voids
|  | 0.07 | Freeze Thaw Resistance
|  | 0.08 | Drying Shrinkage
|  | 0.09 | Bulk Density
|  | 0.1 | Dry Bulk Density
|  | 0.11 | Transverse Breaking Load
|  | 0.12 | Abrasion
|  | 0.13 | Tensile Splitting Strength
|  | 0.14 | Crushing
|  | 0.15 | Capillary Absorption
|  | 0.16 | Initial Surface Absorption
|  | 0.17 | Flexural Strength
|  | 0.18 | Water Absorption Co-efficient
|  | 0.19 | Real and Apparent Density
|  | 0.2 | Open and True Porosity
|  | 0.21 | Slip Resistance - pendulum tester
|  | 0.22 | Unpolished Slip Resistance
|  | 0.23 | Abrasion Resistance
|  | 0.24 | Geometric Characteristics
|  | 0.25 | Frost Resistance
|  | 0.26 | Transverse Strength
|  | 0.27 | Thermal Cycling
|  | 0.28 | Length + Width + Deviation from Length + Width Edge Deviation
|  | 0.29 | Thickness
|  | 0.3 | Rectangularity
|  | 0.31 | Failure Load in Bending
|  | 0.32 | Flatness Deviation
|  | 0.33 | Petrographic Examination
|  | 0.34 | Wetting and Drying
|  | 0.35 | Sulphuric Acid Immersion
|  | 0.36 | Initial Shear Strength
|  | 0.37 | Polished Paver Value
|  | 0.38 | Unpolished Paver Value
|  | 0.39 | Ageing
|  | 0.4 | Static Elastic Modulus
|  | 0.41 | Chemical Resistance
|  | 0.42 | Resistance to Stains
|  | 0.43 | Modulus of Rupture and Breaking Strength
|  | 0.44 | Scratch Hardness of Surface
|  | 0.45 | Resistance to Thermal Shock
|  | 0.46 | Moisture Expansion
|  | 0.47 | Impact Resistance
|  | 0.48 | Resistance to Deep Abrasion
|  | 0.49 | Linear Thermal Expansion
|  | 0.5 | Resistance to Surface Abrasion
|  | 0.51 | Crazing Resistance
|  | 0.52 | Strength
|  | 0.53 | Slip
|  | 0.54 | Open Time
|  | 0.55 | Wetting
|  | 0.56 | Deformation
|  | 0.57 | Shrinkage
|  | 0.58 | Mortar
|  | 0.59 | Screed
230 | Cementitious Materials (Portland Cement) | 0.01 | Sampling
| Physical Tests | 0.02 | Compressive Strength
|  | 0.03 | Flexural Strength
|  | 0.04 | Making & Curing Strength Specimens
|  | 0.05 | Standard Consistence
|  | 0.06 | Setting Times
|  | 0.07 | Soundness
|  | 0.08 | Fines (Blaine Air Permeability)
|  | 0.09 | Density
|  | 0.99 | Other Tests
231 | Cementitious Materials (Portland Cement) | 0.01 | Loss on Ignition
| Chemical Tests | 0.02 | Chemical Analysis
|  | 0.03 | Sulphate Content
|  | 0.04 | Chloride Content
|  | 0.99 | Other Tests
232 | Other Cementitious Materials | 0.01 | Moisture Content
|  | 0.02 | Activity Index
|  | 0.03 | Moisture Content
|  | 0.99 | Other Tests
233 | Environmental Testing - Atmospheric dust fall | 0.01 | Determination of Atmospheric Dust fall – (Bergerhoff Instrument)
Note on C30: Adrienne Duff: These had previously been 212 numbers

## Scope Guidance
CAB Guidance for Mapping from 2016 scopes to INAB CRM
Columns 1 and 2 are fixed text within the INAB system
Columns 3-6 are free text completed by the CAB
Columns 1-4 are PRINTED on the scope
Columns 1-6 are VISIBLE to INAB and the CAB
Note: not all columns are applicable to all scope types
Previous P9 Chapter 2
A site is a location under the control of the CAB where conformity assessment activity covered by the scope of accreditation is performed
The following guidance is provided (examples only)
FLEXIBLE SCOPE
for laboratories with a flexible scope, the following footnotes apply (without variation):
1 Range of measurement may be extended
2 Parameters may be added
3 Test matrices may be added
4 Equipment/kit
MATRICES |  |  |  | METHODOLOGIES
Code | Construction Material | Code | Matrices
212 | Concrete | 212.01 | Fresh Concrete Composite Sample | Quartering Method
|  | 212.02 | Fresh Concrete Spot Sample
|  | 212.03 | Hardened Concrete
|  | 212.04 | Reinforced Concrete
|  | 212.05 | Cubes
|  | 212.06 | Cylinders
|  | 212.07 | Cored Specimens
215 | Aggregates (Chemical Tests) | 215.01 | Natural Aggregates | Volhard Method
|  | 215.02 | Manufactured Aggregates | Acid Digestion
|  | 215.03 | Aggregates ex Filler | Mortor Bow Test
|  | 215.04 | Recycled Aggregates | Concrete Prism Method
|  | 215.05 | Recycled Concrete Aggregates | Other
|  | 215.06 | Dry Aggregate
|  | 215.07 | Soaked Aggregate
|  | 215.08 | Other
216 | Aggregates | 216.01 | Fine Aggregates | Stationary Conveyor Belt
|  | 216.02 | Coarse Aggregates | Stockpiles
|  | 216.03 | Coarse Recycled Aggregates | Lorries
|  | 216.04 | Filler | Riffle Box
|  | 216.05 | Filler in Kerosene | Quartering
|  | 216.06 | Other | Specified Mass
Crushing to reduce particle size
Sieving
Sand Equivalent Test
Grading of Fillers by Air Jet Sieving
Los Angeles Method
Wire Basket Method Particles
Pyknometer Method
Other
217 | Bituminous Materials | 217.01 | Material around the augers of the paver | Vibratory Compaction
|  | 217.02 | Workable heaps | Roller Compaction
|  | 217.03 | Laid material mat | Destructive Method
|  | 217.04 | Laid and compacted materials by coring | Ignition
|  | 217.05 | Pre-coated chippings for HRA | Volumetric Procedure
|  | 217.06 | Reclaimed asphalt | Rolling Bottle Method
|  | 217.07 | In a Lorry | Static Method
|  | 217.08 | Cylindrical specimens | Schellenberg Method
|  | 217.09 | Dry Mixtures | By Coring
|  | 217.1 | Saturated Surface - Dry | Dimensions
|  | 217.11 | Sealed Specimens | Sand Patch Method
|  | 217.12 | Mineral Aggregate | Ring and Ball Method
|  | 217.13 | Porous Asphalt sample | Oil Distillate Percent by Volume
|  | 217.14 | Emulsions | Residue Percent by Mass
218 | Soils | 219.01 | Disturbed Soil | Sampling - Percussive Drilling
|  | 219.02 | Non Disturbed Soil | Sampling - Rotary Drilling
|  | 219.03 | Excavated Material | Oven Drying Method
|  | 219.04 | Laid Material | Liquid Limit - 4 point, definitive
|  | 219.05 | Chalk | Liquid Limit - 1 point
|  | 219.06 | Sands | Liquid Limit - casagrande
|  | 219.07 | Gravelly Soils | Shrinkage - volumetric
Shrinkage - linear
Density - Linear Measurement
Density - Water Immersion
Density - Water Displacement
Particle Density - Gas Jar Method
Particle Density - Small Pyknometer
Particle Density - Large Pyknometer
PSD - Wet Sieving
PSD - Dry Sieving
PSD - Sedimentation by pipette
PSD - Sedimentation by Hydrometer
Dry Density/Moisture Content - 2.5 kg Rammer
Dry Density/Moisture Content - 4.5 kg Rammer
Dry Density/Moisture Content - Vibrating Hammer
Constant Head Method
Pinhole Method
Crumb Method
Dispersion Method
Filter Paper Method
Hydraulic Consolidation Cell
Triaxial Cell
Sound Patch Method
Volumetric Patch Technique
227 | Construction Products | 227.01 | Clay Bricks
|  | 227.02 | Masonry
|  | 227.03 | Precast Concrete Masonry Units
|  | 227.04 | Mortars, Screeds and Plasters
|  | 227.05 | Clay Pavers
|  | 227.06 | Precast Concrete Paving Blocks
|  | 227.07 | Cast Stone
|  | 227.08 | Natural Stone Masonry Units
|  | 227.09 | Modular Tiles
|  | 227.1 | External Paving
|  | 227.11 | Roofing Tiles; Clay
|  | 227.12 | Roofing Tiles; Concrete
|  | 227.13 | Stone and Clay Products for Cladding and roofing
|  | 227.14 | Slates
|  | 227.15 | Masonry including Natural Stone
|  | 227.16 | Concrete Paving Slabs/Flags
|  | 227.17 | Natural Stone Products for Building Purpose
|  | 227.18 | Ceramic Tiles; Walls and Flooring
|  | 227.19 | Glazed Tiles
|  | 227.2 | Adhesives for use with Ceramic Tiles
|  | 227.21 | Grouts for use with Cermaic Tiles