## Optical
Code | ST16CRM-Class-Opt
Issue 2 | September 2019
Classification | Testing Laboratories
Sub Classification | Optical
Standard | ISO 17025 T
FIXED TEXT | Descriptor 1 |  | Descriptor 2 | FREE TEXT
Code | Optical Parameter | Sub code | Type of Test | Level 1 Heading | Level 2 Heading | Level 3 Heading | Level 4 Heading
Level 1 Descriptions | Level 1 Descriptions | Level 2 Descriptions | Level 2 Descriptions | Product Tested | Property Measured | Range of Measurement | Std. Ref & SOP
401 | Geometry of optical components and systems | .01 | Functional/performance tests
|  | .02 | Mechanical tests
|  | .03 | Measurement tests
|  | .99 | Other
402 | Optical quality | .01 | Functional/performance tests
|  | .02 | Mechanical tests
|  | .03 | Measurement tests
|  | .99 | Other
403 | Refractive index | .01 | Functional/performance tests
|  | .02 | Mechanical tests
|  | .03 | Measurement tests
|  | .99 | Other
404 | Radiant flux | .01 | Functional/performance tests
|  | .02 | Mechanical tests
|  | .03 | Measurement tests
|  | .99 | Other
405 | Broad band irradiance | .01 | Functional/performance tests
|  | .02 | Mechanical tests
|  | .03 | Measurement tests
|  | .99 | Other
406 | Luminous flux | .01 | Functional/performance tests
|  | .02 | Mechanical tests
|  | .03 | Measurement tests
|  | .99 | Other
407 | Broad band visible light | .01 | Functional/performance tests
|  | .02 | Mechanical tests
|  | .03 | Measurement tests
|  | .99 | Other
408 | Luminous intensity | .01 | Functional/performance tests
|  | .02 | Mechanical tests
|  | .03 | Measurement tests
|  | .04 | Distribution
|  | .99 | Other
408 | Luminance and Illuminance | .01 | Functional/performance tests
|  | .02 | Mechanical tests
|  | .03 | Measurement tests
|  | .99 | Other
409 | Spectrophotometry | .01 | Functional/performance tests
|  | .02 | Mechanical tests
|  | .03 | Measurement tests
|  | .99 | Other
410 | Spectral Transmittance | .01 | Functional/performance tests
|  | .02 | Mechanical tests
|  | .03 | Measurement tests
|  | .99 | Other

## Scope Guidance
CAB Guidance for Mapping Scopes
Columns 1 and 2 are fixed text within the INAB system
Columns 3-6 are free text completed by the CAB
Columns 1-4 are PRINTED on the scope
Columns 1-6 are VISIBLE to INAB and the CAB
Note: not all columns are applicable to all scope types
Previous P9 Chapter 4
Lab must retain product list of types tested
Product Types (examples only) | Properties Measured (examples only)
Rear view mirrors | Transmittance
Eye protection wear | Reflectance
Sunglasses | Luminance factor
Windows | Chromaticity
Sun screens | Colour temperature
Laser sources | Haze
Incoherent sources | Gloss
Incandescent lamps | Spectral radiance
Road lighting | Spectral irradiance
Chromaticity
Correlated colour temperature
FLEXIBLE SCOPE
for laboratories with a flexible scope, the following footnotes apply (without variation):
1 Range of measurement may be extended
2 Parameters may be added
3 Test matrices may be added
4 Equipment/kit