## Metrology
Code: | ST8CRM-Class-Met
Issue 3 | November 2023
Classification | Calibration Laboratories
Sub Classification | Metrology
Standard | ISO 17025 C
FIXED TEXT | Descriptor 1 |  | Descriptor 2 | FREE TEXT
Code | Metrology field | Sub code | Calibrated Device Type | Level 1 Heading | Level 2 Heading | Level 3 Heading | Level 4 Heading | Level 5 Heading | Level 6 Heading
Level 1 Descriptions | Level 1 Descriptions | Level 2 Descriptions | Level 2 Descriptions | Measured quantity | Calibration Range | Expanded Measurement Uncertainty | Std. Ref/SOP | Products | Remarks
101 | Mass | 0.01 | Precision laboratory balances
|  | 0.02 | Industrial balances
|  | 0.03 | Industrial weighing appliances
|  | 0.04 | Hopper weighing systems
|  | 0.05 | Laboratory mass standards
|  | 0.99 | Other
102 | Length/Distance/Angle/Area | 0.01 | Limit gauges
|  | 0.02 | Micrometers
|  | 0.03 | Vernier callipers
|  | 0.04 | Height and depth gauges
|  | 0.05 | Feeler gauges
|  | 0.06 | Steel rules, tapes
|  | 0.07 | Length and angle standards
|  | 0.08 | Area standards
|  | 0.99 | Other
103 | Density | 0.01 | Solid densitometers
|  | 0.02 | Liquid densitometers
|  | 0.03 | Gas densitometers
|  | 0.99 | Other
104 | Volume | 0.01 | Volumetric glassware
|  | 0.02 | Special laboratory volumetric apparatus
|  | 0.03 | Industrial volumetric proving measures
|  | 0.04 | Standard measures
|  | 0.05 | Pipe provers
|  | 0.99 | Other equipment
105 | Flow | 0.01 | Anemometers
|  | 0.03 | Orifice meters
|  | 0.04 | Gas meters
|  | 0.05 | Liquid meters
|  | 0.11 | Liquid meters
|  | 0.21 | Current meters
|  | 0.99 | Other
106 | Pressure | 0.01 | Aneroid barometers
|  | 0.02 | Barographs
|  | 0.03 | Mercury barometers
|  | 0.04 | Gauge barometers
|  | 0.05 | Altimeters
|  | 0.06 | Pressure gauges
|  | 0.07 | Vacuum gauges
|  | 0.08 | Pressure transducers
|  | 0.1 | Pressure recorders
|  | 0.11 | Mercury manometers
|  | 0.12 | Other liquid manometers
|  | 0.13 | Digital manometers
|  | 0.14 | Pressure control devices
|  | 0.15 | Air operated piston gauges
|  | 0.16 | Oil operated piston gauges
|  | 0.99 | Other
107 | Temperature measuring equipment | 0.01 | Rare metal thermocouples
|  | 0.02 | Base metal thermocouples
|  | 0.03 | Metallic resistance thermometers
|  | 0.04 | Semiconductor thermometers
|  | 0.05 | Liquid in glass thermometers
|  | 0.06 | Optical pyrometers
|  | 0.07 | Radiation pyrometers and thermometers
|  | 0.08 | Vapour pressure thermometers
|  | 0.09 | Digital temperature indicator systems
|  | 0.1 | Disposable thermometers
|  | 0.11 | Electronic
|  | 0.99 | Other
108 | Temperature controlled enclosures | 0.01 | Ovens, furnaces, baths
|  | 0.02 | Incubators
|  | 0.03 | Autoclaves and sterilising ovens
|  | 0.04 | Industrial freezers
|  | 0.05 | Fridges
|  | 0.99 | Other
109 | Ancillary temperature measuring instruments | 0.01 | Portable potentiometers
|  | 0.02 | Digital voltmeters
|  | 0.03 | Resistance bridges
|  | 0.04 | Indicators, recorers and controllers
|  | 0.05 | Transmitters
|  | 0.06 | Strip lamps
|  | 0.07 | Blackbody sources
|  | 0.99 | Other equipment
110 | Electrical | 0.01 | Indicating and recording instruments
|  | 0.02 | Inductors and transformers
|  | 0.03 | Capacitors
|  | 0.04 | Resistors
|  | 0.05 | Conductors
|  | 0.06 | Potentiometers
|  | 0.07 | Transducers
|  | 0.99 | Other
111 | Frequency | 0.01 | Frequency meters
|  | 0.02 | Wavemeters
|  | 0.03 | Counters
|  | 0.99 | Other
112 | Speed | 0.01 | Centrifuges
|  | 0.02 | Tachometers
|  | 0.03 | Speedometers
|  | 0.04 | Velocity transducers
|  | 0.99 | Other
113 | Time | 0.01 | Oscilloscopes
|  | 0.02 | Clocks and stopwatches
|  | 0.03 | Tachometers
|  | 0.99 | Other
114 | Torque | 0.01 | Torque wrenches
|  | 0.02 | Torque transducers
|  | 0.03 | Torque multiplying gearboxes
|  | 0.99 | Other
115 | Force | 0.01 | Load cells
|  | 0.02 | Force Gauges
|  | 0.99 | Other
116 | Hygrometry (humidity) | 0.01 | Humidity testing device
|  | 0.02 | Environmental Chambers
|  | 0.99 | Other hygrometers
117 | Radiation | 0.01 | Ionising radiation survey instruments
|  | 0.02 | Dosimeters
|  | 0.03 | Nuclear moisture density gauges
118 | Optical | 0.01 | Spectrophotometers
|  | 0.02 | Polarimeters
|  | 0.03 | Saccarimeters
|  | 0.04 | Quartz control plates
|  | 0.05 | Refractometers
|  | 0.06 | Spectroradiometers
|  | 0.07 | UV irradiometers
|  | 0.08 | IR irradiometers
|  | 0.09 | Transmittance demsiometers
|  | 0.1 | Reflectance denisitometers
|  | 0.11 | Incident light tricolormeters
|  | 0.12 | Reflectance tricolourmeters
|  | 0.13 | Colour temperature meters
|  | 0.14 | Hazemeters
|  | 0.15 | Gloss meters
|  | 0.16 | Luminance meters
|  | 0.17 | Illuminance meters
|  | 0.99 | Other
119 | Vibration measuring equipment | 0.01 | Vibration transducers
|  | 0.02 | Vibration measuring systems
|  | 0.03 | Vibration analysers
|  | 0.04 | Vibration filters
|  | 0.05 | Vibration recording systems
|  | 0.06 | Vibration calibrators
120 | Acoustic measuring equipment | 0.01 | Microphones
|  | 0.02 | Sound level
|  | 0.03 | Sound spectrum analysers
|  | 0.04 | Band pass filters
|  | 0.05 | Acoustic calibrators
|  | 0.06 | Reference sound sources
|  | 0.07 | Sound level recording systems
|  | 0.08 | Tape recorders
|  | 0.09 | Audiometers
|  | 0.1 | Dose meters for sound
|  | 0.11 | Other acoustic measuring equipment
121 | Hydrometry (specific gravity) | 0.01 | Density hydrometers
|  | 0.02 | Alcoholometers
|  | 0.03 | Brix hydrometers
|  | 0.04 | LPG hydrometers
|  | 0.99 | Other hydrometers
122 | Emissions | 0.01 | Gas analysers
|  | 0.99 | Other
Note on J10: Andrew Stratford: Not sure this is needed (or workable). We can still use the freetext box at the end of the scope for stuff like that...

## Scope Guidance
CAB Guidance for Mapping 2016 Scopes to INAB CRM |  |  |  | Code | Measuring Device Type | Product Examples
|  |  |  | 110.01 | Electrical - indicating and recording instruments | D.C. Voltmeters
Columns 1 and 2 are fixed text within the INAB system | [5 empty] | A.C. Voltmeters
Columns 3-6 are free text completed by the CAB | [5 empty] | D.C. ammeters
Columns 1-4 are PRINTED on the scope | [5 empty] | A.C. ammeters
Columns 1-6 are VISIBLE to INAB and the CAB | [5 empty] | Wattmeters
Varimeters
1 | All calibration laboratory activity covered under one scope classification system |  |  |  |  | Phase angle indicators
2 | Numbering changed |  |  |  |  | Power factor meters
3 | Calibration range: include frequency of applied voltage as applicable |  |  |  |  | Ohmmeters
4 | Products: specify exact products covered under scope e.g. 104.01 pipettes, burettes, multi-channel pipettes. 101.05 Class E weights |  |  |  |  | LCR meters
5 | The following cross references the changes from old and new classifications systems to enable mapping |  |  |  |  | Galvanometers and null detectors
6 | The measured quantity might be mass or volume, you can either type ‘mass’ or ‘volume’ as appropriate into column D, or simply leave it blank |  |  |  |  | Electricity meters
Graphic recoring instruments
| Code | New | Previous |  |  | Digital storage recorders
| 101 | Mass | 120 and 121 |  |  | Instrumentation tape records
| 102 | Length/Distance/Angle/Area | 101, 103, 110 |  |  | Electric field strength meters
| 103 | Density | 131, 133 | 110.02 | Inductors and transformers | Inductors, self and mutual
| 104 | Volume | 130 |  |  | Radio transformers
| 105 | Flow | 134 |  |  | Power transformers and reactors
| 106 | Pressure | 140, 141, 142 |  |  | Current transformers and protective current transformers
| 107 | Temperature measuring equipment | 501, 505 |  |  | Voltage transformers and protective voltage transformers
| 108 | Temerature controlled enclosures | 510 |  |  | Audio transformers
| 109 | Ancillary temperaturemeasuring instruments | 503 |  |  | R.F. Transformers
| 110 | Electrical | Chapter 3, various |  |  | Pulse transformers
| 111 | Frequency | 312 |  |  | Auto transformers
| 112 | Speed | 151 |  |  | Phase shifting transformers
| 113 | Time | New |  |  | Reference ballasts
| 114 | Torque | 152 |  |  | Neutral earthing transformers
| 115 | Force | 150 | 110.03 | Capacitors | Precision capacitors
| 116 | Hygrometry | 132 |  |  | Capacitance attenuators
| 118 | Optical | 403, 404, 421 |  |  | Capacitance potential dividers
|  |  |  | 110.04 | Resistors | Precision resistors,resistance boxes and conductance boxes
Volt ratio boxes and potential dividers
A site is a location under the control of the CAB where conformity assessment activity covered by the scope of accreditation is performed | [5 empty] | DC shunts
AC shunts
Other
Note on B10: Andrew Stratford: I'm not sure about this. I think the frequency of the applied voltage should be in column 1 (measured quantity), leaving room for the actual range (x mV to y mV) in column 4