## Biology and Vet
Code | ST2CRM-Class-Bio/Vet
Issue 4 | June 2021
Classification | Testing Laboratories
Sub Classification | Biological and Veterinary
Standard | ISO 17025 T
FIXED TEXT | Descriptor 1 |  | Descriptor 2 | FREE TEXT
Code | Biology/Veterinary Field | Sub-Code | Tests | Level 1 Heading | Level 2 Heading | Level 3 Heading | Level 4 Heading | Level 5 Heading | Level 6 Heading
Level 1 Description | Level 1 Description | Level 2 Description | Level 2 Description | Test Name | Technique | Matrix | Equipment | Std. Reference | SOP
801 | Macroscopic examination and description
802 | Preparation of films on slides followed by microscopic examination to detect organisms, with or without fixation and staining with dyes as required | 0.01 | Microscopic examination for general bacteriology purposes (including enumeration and description of human cells)
|  | 0.02 | Microscopic examination for parasites
|  | 0.03 | Microscopic examination for fungi
|  | 0.04 | Microscopic examination for mycobacteria
|  | 0.05 | Microscopic examination for constituents of animal origin
803 | Culture of organisms in liquid or agar based culture media with visual or instrument monitoring for growth | 0.01 | Culture of bacteria
|  | 0.02 | Culture of fungi
|  | 0.03 | Culture of mycobacteria
|  | 0.04 | Culture of yeasts
804 | Detection of bacterial, parasite, viral or fungal antigens using specific antibodies and appropriate techniques. | 0.01 | Slide agglutination,
|  | 0.02 | Particle agglutination
|  | 0.03 | Enzyme immunoassay,
|  | 0.04 | Immunochromatographic methods,
|  | 0.05 | Immunofluorescence
|  | 0.06 | Complement fixation test
|  | 0.07 | Neuraminidase inhibition
|  | 0.08 | Haemagglutination inhibition
|  | 0.09 | Agar gel immuno diffusion
805 | Detection and/or identification of bacterial, parasite, fungal and viral nucleic acids using appropriate techniques | 0.01 | Nucleic acid probe hybridization, CE marked commercial systems
|  | 0.02 | Nucleic acid probe hybridization, in house developed assays
|  | 0.03 | Nucleic acid amplification tests, CE marked commercial systems
|  | 0.04 | Nucleic acid amplification tests, in house developed assays
|  | 0.05 | Nucleotide sequencing & analysis
806 | Identification of cultured bacteria and fungi using non-nucleic acid based techniques | 0.01 | Biochemical methods , CE marked commercial systems
|  | 0.02 | Biochemical methods , non-CE marked / in house methods
|  | 0.03 | Identification of fungi by microscopic morphology
|  | 0.04 | Identification using MALDI-TOF Spectroscopy (Mass spectrometry)
807 | Measurement of antimicrobial activity and application of interpretive criteria to general bacteria (rapidly growing aerobes) | 0.01 | Anaerobes
|  | 0.02 | Mycobacteria
|  | 0.03 | Yeasts
|  | 0.04 | Filamentous fungi
|  | 0.05 | Other categories of organism (as specified )
808 | Detection of antibody response to infection using appropriate techniques | 0.01 | Particle agglutination, using CE marked commercial systems
|  | 0.02 | Enzyme immunoassay, using CE marked commercial systems
|  | 0.03 | Radioimmunoassay, using CE marked commercial systems
|  | 0.04 | Line immunoassay, using CE marked commercial systems
|  | 0.05 | Immunochromatographic methods, using CE marked commercial systems
|  | 0.06 | Application of in house methods for antibody detection
|  | 0.07 | Chemiluminescent microparticle immunoassay, using CE marked commercial systems
|  | 0.08 | Neuraminidase inhibition
|  | 0.09 | Haemagglutination inhibition
|  | 0.1 | Slide agglutination
|  | 0.11 | Agar gel immuno diffusion
|  | 0.12 | Immunofluorescence
|  | 0.13 | Complement fixation test
|  | 0.14 | Serum neutralisation test
|  | 0.15 | Enzyme immunoassay, using non CE marked systems / in house methods.
809 | Detection of microbial toxin through cell cytotoxicity and neutralization assays
810 | Culture of virus and other obligate intracellular pathogens using in vivo or in vitro techniques
811 | Detection of lymphocyte response to infection using in vitro antigen stimulation of blood cells using CE marked commercial systems
812 | Characterisation of subtypes within species of bacteria, fungi or virus using appropriate techniques | 0.01 | Phage typing
|  | 0.02 | Molecular / nucleic acid analysis methods [specifying the particular techniques]
|  | 0.03 | Immunological methods/
|  | 0.04 | Other specified methods
814 | Measurement of antimicrobial levels by immunological methods
815 | Detection of prions using specific antibodies and appropriate techniques. | 0.01 | Histological identification of prion disease lesions
|  | 0.02 | Detection of prion protein by immunological methods (including ELISA, Western Blots, immunohistochemistry)
|  | 0.03 | Detection of scrapie associated fibrils (SAFs) by electron microscopy
|  | 0.04 | Detection of prion protein by bioassay
|  | 0.05 | Other
816 | Genetic testing | 0.01 | Cytogenetics
|  | 0.02 | Parentage testing
|  | 0.03 | Molecular genetics
|  | 0.04 | Biochemical genetics
817 | Biochemistry | 0.01 | Diagnostic biochemistry – incorporating analytes for organ systems, analysis of protein and electrolytes
|  | 0.02 | Blood gas tensions, pH
|  | 0.03 | Hormone Assays
|  | 0.04 | Pregnancy diagnosis
|  | 0.05 | Urine biochemistry
|  | 0.06 | Analysis of calculi
|  | 0.07 | Trace element analysis
|  | 0.08 | Vitamin assays
|  | 0.09 | Drugs for therapeutic monitoring
|  | 0.1 | Quantitative analysis of total carbon dioxide in equine plasma
|  | 0.11 | Other
|  | 0.12 | Immunoglobulin identification body fluids
|  | 0.13 | Detection of enzymes, Biochemical methods, CE marked commercial systems.
|  | 0.14 | Detection of enzymes, Biochemical methods, in house developed methods.
818 | Electron microscopy | 0.01 | Transmission electron microscopy
|  | 0.02 | Scanning electron microscopy
|  | 0.03 | Analytical electron microscopy
|  | 0.04 | Immunohistochemistry electron microscopy
819 | Bioassays including toxicity tests
820 | Miscellaneous
821 | Detection of antimicrobial substances | 0.01 | Biochemical Methods, CE marked systems
|  | 0.02 | Biochemical Methods, in house developed methods
822 | Detection of Bacterial Endotoxins | 0.01 | Kinetic Turbidimetric, CE marked commercial systems
|  | 0.02 | Kinetic Chromogenic, CE marked commercial systems
|  | 0.03 | Gel-clot test, CE marked commercial systems
|  | 0.04 | In house developed methods
|  | 0.05 | Detection of endotoxin, CE marked commercial systems.
Note on D32: Sinead Guckian: veterinary only
Note on D61: Sinead Guckian: veterinary only

## Scope Guidance
CAB Guidance for Mapping from 2016 scopes to INAB CRM |  |  |  |  | 1.
2.
Columns 1 and 2 are fixed text within the INAB system
Columns 3-6 are free text completed by the CAB
Columns 1-4 are PRINTED on the scope
Columns 1 - 6 are VISIBLE to INAB and the CAB
Previous P9 Chapter 8 and 13
A site is a location under the control of the CAB where conformity assessment activity covered by the scope of accreditation is performed
1 | Section 8 i.e. Biological Testing (Codes 801-890) and Section 13 i.e. Veterinary Testing (Codes 1310 to 1390) have been combined and replaced by codes 801 to 819 inclusive.
2 | Classification is now based on competency rather than matrix and test method.
3 | The following list of migrated P9s has been presented as an example
P9 Revision 14
| Previous Category |  | New Category |  |  |  | FREE TEXT
|  |  | Code | Biology/Veterinary Field | Sub-Code | Tests | Test Name | Technique | Matrix | Equipment | Std. Reference | SOP
| 870 | Waters including Effluents | 803 | Culture of organisms in liquid or agar based culture media with visual or instrument monitoring for growth | 0.01 | Culture of bacteria | Enumeration of Faecal Colifoms | Membrane Filtration | Sewage | N/A | Standard Methods 22nd Edition , 2012 and The Microbiology of Drinking Water (2009) -Part 4- Methods for the isolation and enumeration of Coliform bacteria and Escherichia coli, Environment Agency | SOP 291
| .13 | Bacterial Condition of Sewage
| .16 | Bacterial Condition of Environmental Waters | 802 | Preparation of films on slides followed by microscopic examination with or without fixation and staining with dyes as required | 0.02 | Microscopic examination for parasites | Recovery and Enumeration of Cryptosporidium/Giardia (oo)cysts | Filta Max Filters | Waters - Environmental water | IDEXX Filta Max® Wash Station | USEPA Method 1623: Cryptosporidium & Giardia in water by filtration IMS/FA , Version EPA-815-R-05-002, Dec. 2005 and The Microbiology of Drinking Water (2010)-Part 14- Methods for the isolation, identification and enumeration of Cryptosporidium oocysts and Giardia cysts, Environment Agency. | SOP 293,294,298 and 299
|  |  | 801 | Macroscopic examination and description
|  |  | 802 | Preparation of films on slides followed by microscopic examination with or without fixation and staining with dyes as required | 0.01 | Microscopic examination for general bacteriology purposes (including enumeration and description of human cells)
[5 empty] | 0.02 | Microscopic examination for parasites
[5 empty] | 0.03 | Microscopic examination for fungi
[5 empty] | 0.04 | Microscopic examination for mycobacteria
[5 empty] | 0.05 | Microscopic examination for constituents of animal origin
|  |  | 803 | Culture of organisms in liquid or agar based culture media with visual or instrument monitoring for growth | 0.01 | Culture of bacteria
[5 empty] | 0.02 | Culture of fungi
[5 empty] | 0.03 | Culture of mycobacteria
|  |  | 804 | Detection of bacterial, parasite, viral or fungal antigens using specific antibodies and appropriate techniques. | 0.01 | Slide agglutination,
[5 empty] | 0.02 | Particle agglutination
[5 empty] | 0.03 | Enzyme immunoassay,
[5 empty] | 0.04 | Immunochromatographic methods,
[5 empty] | 0.05 | Immunofluorescence
[5 empty] | 0.06 | Complement fixation test
[5 empty] | 0.07 | Neuraminidase inhibition
[5 empty] | 0.08 | Haemagglutination inhibition
[5 empty] | 0.09 | Agar gel immuno diffusion
|  |  | 805 | Detection and/or identification of bacterial, parasite, fungal and viral nucleic acids using appropriate techniques | 0.01 | Nucleic acid probe hybridization, CE marked commercial systems
[5 empty] | 0.02 | Nucleic acid probe hybridization, in house developed assays
[5 empty] | 0.03 | Nucleic acid amplification tests, CE marked commercial systems
[5 empty] | 0.04 | Nucleic acid amplification tests, in house developed assays
[5 empty] | 0.05 | Nucleotide sequencing & analysis
|  |  | 806 | Identification of cultured bacteria and fungi using non-nucleic acid based | 0.01 | Biochemical methods , CE marked commercial systems
[5 empty] | 0.02 | Biochemical methods , in house developed methods
[5 empty] | 0.03 | Identification of fungi by microscopic morphology
[5 empty] | 0.04 | Identification using MALDI-TOF Spectroscopy
|  |  | 807 | Measurement of antimicrobial activity and application of interpretive criteria to general bacteria (rapidly growing aerobes) | 0.01 | Anaerobes
[5 empty] | 0.02 | Mycobacteria
[5 empty] | 0.03 | Yeasts
[5 empty] | 0.04 | Filamentous fungi
[5 empty] | 0.05 | Other categories of organism (as specified )
|  |  | 808 | Detection of antibody response to infection using appropriate techniques | 0.01 | Particle agglutination, using CE marked commercial systems
[5 empty] | 0.02 | Enzyme immunoassay, using CE marked commercial systems
[5 empty] | 0.03 | Radioimmunoassay, using CE marked commercial systems
[5 empty] | 0.04 | Line immunoassay, using CE marked commercial systems
[5 empty] | 0.05 | Immunochromatographic methods, using CE marked commercial systems
[5 empty] | 0.06 | Application of in house methods for antibody detection
[5 empty] | 0.07 | Chemiluminescent microparticle immunoassay, using CE marked commercial systems
[5 empty] | 0.08 | Neuraminidase inhibition
[5 empty] | 0.09 | Haemagglutination inhibition
[5 empty] | 0.1 | Slide agglutination
[5 empty] | 0.11 | Agar gel immuno diffusion
[5 empty] | 0.12 | Immunofluorescence
[5 empty] | 0.13 | Complement fixation test
[5 empty] | 0.14 | Serum neutralisation test
|  |  | 809 | Detection of microbial toxin through cell cytotoxicity and neutralization assays
|  |  | 810 | Culture of virus and other obligate intracellular pathogens using in vivo or in vitro techniques
|  |  | 811 | Detection of lymphocyte response to infection using in vitro antigen stimulation of blood cells using CE marked commercial systems
|  |  | 812 | Characterisation of subtypes within species of bacteria, fungi or virus using appropriate techniques | 0.01 | Phage typing
[5 empty] | 0.02 | Molecular / nucleic acid analysis methods [specifying the particular techniques]
[5 empty] | 0.03 | Immunological methods/
[5 empty] | 0.04 | Other specified methods
|  |  | 813 | Preservation of microbial cultures
|  |  | 814 | Measurement of antimicrobial levels by immunological methods
|  |  | 815 | Detection of prions using specific antibodies and appropriate techniques. | 0.01 | Histological identification of prion disease lesions
[5 empty] | 0.02 | Detection of prion protein by immunological methods (including ELISA, Western Blots, immunohistochemistry)
[5 empty] | 0.03 | Detection of scrapie associated fibrils (SAFs) by electron microscopy
[5 empty] | 0.04 | Detection of prion protein by bioassay
[5 empty] | 0.05 | Other
|  |  | 816 | Genetic testing | 0.01 | Cytogenetics
[5 empty] | 0.02 | Parentage testing
[5 empty] | 0.03 | Molecular genetics
[5 empty] | 0.04 | Biochemical genetics
|  |  | 817 | Biochemistry | 0.01 | Diagnostic biochemistry – incorporating analytes for organ systems, analysis of protein and electrolytes
[5 empty] | 0.02 | Blood gas tensions, pH
[5 empty] | 0.03 | Hormone Assays
[5 empty] | 0.04 | Pregnancy diagnosis
[5 empty] | 0.05 | Urine biochemistry
[5 empty] | 0.06 | Analysis of calculi
[5 empty] | 0.07 | Trace element analysis
[5 empty] | 0.08 | Vitamin assays
[5 empty] | 0.09 | Drugs for therapeutic monitoring
[5 empty] | 0.1 | Quantitative analysis of total carbon dioxide in equine plasma
[5 empty] | 0.11 | Other
[5 empty] | 0.12 | Immunoglobulin identification body fluids
|  |  | 818 | Electron microscopy | 0.01 | Transmission electron microscopy
[5 empty] | 0.02 | Scanning electron microscopy
[5 empty] | 0.03 | Analytical electron microscopy
[5 empty] | 0.04 | Immunohistochemistry electron microscopy
|  |  | 819 | Miscellaneous
| 811 | Microbiological tests on Foods | 803 | Culture of organisms in liquid or agar based culture media with visual or instrument monitoring for growth | 0.01 | Culture of bacteria | Detection and confirmation of E. coli 0157:H7 | Reveal® test system | Dairy Products | N/A | Reveal® test system | MTM009
| .01 | Dairy Products
| 811 | Microbiological tests on Foods | 805 | Detection and/or identification of bacterial, parasite, fungal and viral nucleic acids using appropriate techniques | 0.03 | Nucleic acid amplification tests, CE marked commercial systems | Detection of Listeria spp | Real-Time PCR | Egg and Egg Products | Thermocycler | BIORAD iQCheckTM Listeria spp. AFNOR VALIDATION Certificate N°BRD 07/13- 05/07 | MTM038
| .02 | Egg and Egg Products
| 870 | Waters Including Effluents | 805 | Detection and/or identification of bacterial, parasite, fungal and viral nucleic acids using appropriate techniques | 0.03 | Nucleic acid amplification tests, CE marked commercial systems | Detection and quantification of Legionella spp and Legionella pneumophila | Concentration and genic amplification by quantitative polymerase chain reaction (qPCR) | Waters - Potable Waters | Thermocycler | ISO/TS 12869: 2012 | SOP PALM 0110
| .01 | Potable Waters
| 1311 | Bacteriology | 812 | Characterisation of subtypes within species of bacteria, fungi or virus using appropriate techniques | 0.03 | Immunological methods | Determination of antigenic structure of Salmonella spp. isolates | Serotyping by slide agglutination | Isolates | N/A | Grimont, P.A.D. and Weill, F-X, 2007. Antigenic formulae of the Salmonella serovars. WHO Collaborating Centre for Reference and Research on Salmonella. Institute Pasteur, Paris, France - Popoff, M.Y., 2001. Guidelines for the preparation of Salmonella antisera. WHO Collaborating Centre for Reference and Research on Salmonella. Institute Pasteur, Paris, France | SOP.004
| .03 | Immunological methods of antigen detection
| 1325 | Serology of Infection
| .04 | Haemagglutination inhibition | 808 | Detection of antibody response to infection using appropriate techniques | 0.09 | Haemagglutination inhibition | Haemagglutination Inhibition procedure for the Detection of Equine Influenza Virus antibodies in serum | Serum Antibody detection on Micro titre plate | Serum | N/A | OIE Terrestrial Manual (2015) Chapter 2.5.7 | P2.014
FLEXIBLE SCOPE
for laboratories with a flexible scope, the following footnotes apply (without variation):
1 Range of measurement may be extended
2 Parameters may be added
3 Test matrices may be added
4 Equipment/kit
Note on H45: Sinead Guckian: veterinary only
Note on H74: Sinead Guckian: veterinary only

## Suggested Matrices
Adhesives, glues and other bondings
Air
Alcoholic beverages (other than wine)
Animal feeds
Cereals and bakery products
Clinical specimens
Cocoa and cocoa preparations, coffee and tea
Confectionery
Cosmetics
Dairy products
Detergents
Diagnostic kits
Egg and egg products
Essential Oils
Faecal analysis
Fats and oils
Fish, shellfish and molluscs
Foods/stockfoods and their additives
Foodstuffs intended for special nutritional uses
Fruit and vegetables
Fuels and oils
Herbs and spices
Isolates
Ices and desserts
Meat and meat products, game and poultry
Medical devices
Non-alcoholic beverages
Nuts and nut products, snacks
Packaging materials
Pet foods
Pharmaceutical and biological products
Pesticides
Prepared dishes
Product contact surfaces
Soils
Soups, broths and sauces
Surfaces
Serum
Textiles and fabrics
Waters - Bore Water
Waters - Environmental water
Waters - Ground water
Waters - Industral
Waters - Potable water
Waters - Saline water
Waters - Sewage
Waters - Swimming pools and spas
Waters - Trade Waste
Waters - Waste water treatment plant effluent (WWTP effluent)
Companion animals
Production animals
Production avian species
Laboratory animals
Zoo animals
Wildlife
Aquatic animals
Equine species
Avian species