|  |  |  |  | Schedule of Accreditation. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Organisation Name. |  |  |  |  | Galway University Hospital (Blood Transfusion). |  |  |
|  |  | Trading As. |  |  |  |  | Galway Blood & Tissue Establishment. |  |  |
|  |  |  | INAB Reg No. |  |  |  | 233MT. |  |  |
|  |  | Contact Name. |  |  | Maeve Wallace. |  |  |
|  |  |  | Address. |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Saolta University Health Care Group, Blood Bank, Blood & Tissue Establishment, Galway, H91 YR71. |  |  |
|  |  |  | Contact Phone No. |  |  | 091 544358. |  |  |
|  |  |  | Email. |  |  |  | maeve.wallace@hse.ie. |  |  |
|  |  |  | Website. |  |  |  |  |  |  |
|  |  |  | Accreditation Standard. |  |  |  | EN ISO 15189. |  |  |
|  |  |  | Standard Version. |  |  |  | 2022. |  |  |
|  | Date of award of accreditation. |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 09/06/2009. |  |  |
|  |  |  |  |  | Scope Classification; Blood Transfusion Science. |  |  |
|  |  |  |  |  | Services available to the public¹. |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | ¹ Refer to document on interpreting INAB Scopes of Accreditation. |  |  |  |
|  | Sites from which accredited services are delivered. (the detail of the accredited services delivered at each site are on the Scope of Accreditation). Name; Address. 1; Galway Blood and Tissue Establishment (GBTE); Saolta University Healthcare Group, Galway University Hospital, Newcastle Rd, Galway, Galway, Ireland, H91 YR71. |  |  |  |  |

|  |  | Scope of Accreditation. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Galway Blood and Tissue Establishment (GBTE). Blood Transfusion Science. Category: A. Medical pathology field - Test; Test/assay; Specimen Type; Equipment/Technique; Method (CE/Non-CE/In house developed/based on standard method); Range of measurement; Std. ref & SOP. 1020 Transfusion science - .01 Blood grouping including ABO, Rh(D) and other antigens by manual methods; Blood Grouping (ABO &RhD) Typing; EDTA specimen-Centrifuged whole blood; 1) Manual Tubes 2) Manual Micro-column Agglutination Biovue; Based on standard method; Positive ( 0.5, 1,2,3,4) reaction strengths & Neg results (0); 1) GBTE/GRP/SOP/001 & 003 2) GBTE/GRP/SOP/008. 1020 Transfusion science - .02 Blood grouping including ABO, Rh(D) and other antigens by automated methods; 1) Automated Blood Grouping (ABO &RhD) Typing 2)Infant Forward Grouping (ABO &RhD) Typing; Automated Method Microcolumn Agglutination Biovue on Autovue Analysers & Vision/Vision Max Analysers; Based on standard method; Positive ( 0.5, 1,2,3,4) reaction strengths & Neg results (0); 1) GBTE/AVUE/SOP/002 2) GBTE/VIS/SOP/002 & 005 & 006. 1020 Transfusion science - .03 Blood group antibody screen; Antibody Screening; 1) Manual Microcolumn Agglutination Biovue 2) Automated Microcolumn Agglutination Biovue -Autovue 3) Automated Microcolumn Agglutination Biovue -Vision/Vision Max; Based on standard method; Positive ( 0.5, 1,2,3,4) reaction strengths & Neg results (0); 1) GBTE/GRP/SOP/007 2)GBTE/AVUE/SOP/002 3)GBTE/VIS/SOP/002 & 005. Manual Microcolumn Agglutination Diamed; Based on Standard Method; Positive ( 0.5, 1,2,3,4) reaction strengths & Neg results (0); GBTE/GRP/SOP/007. 1020 Transfusion science - .04 Identification of blood group antibodies; Antibody Identification; 1) Manual Microcolumn Agglutination 2) Automated Microcolumn Agglutination Biovue on Autovue Innova 3) Automated Microcolumn Agglutination Biovue on Ortho Vision Max; Based on standard method; Positive ( 0.5, 1,2,3,4) reaction strengths & Neg results (0); 1)GBTE/ABID/SOP/001 2)GBTE/ABID/SOP/012 3)GBTE/VIS/SOP/0002 & 005. Manual Microcolumn Agglutination Diamed; Based on Standard Method; Positive ( 0.5, 1,2,3,4) reaction strengths & Neg results (0); GBTE/ABID/SOP/001 GBTE/ABID/SOP/002. 1020 Transfusion science - .05 Cross match compatible donor units; Automated Crossmatch; EDTA-Centrifuged Whole Blood; Ortho Vision Max Analysers; Based on Standard Method; Positive (0.5,1,2,3,4) reaction strengths & Negative Results (0); GBTE/VIS/SOP/009. Compatibility Testing; EDTA specimen-Centrifuged whole blood; 1) Manual Microcolumn Agglutination Biovue 2) Compatibility Analysis for the release of compatible blood by Electronic Means; Based on standard method; Positive ( 0.5, 1,2,3,4) reaction strengths & Neg results (0); 1)GBTE/XM/SOP/002 2)GBTE/XM/SOP/019. 1020 Transfusion science - .06 Red cell phenotyping; Antigen Typing; 1) Manual Tubes 2) Manual Micro-column Agglutination Biovue; CE & Based on standard method; Positive ( 0.5, 1,2,3,4) reaction strengths & Neg results (0); 1) GBTE/ABID/SOP/007 2) GBTE/ABID/SOP/007. 1020 Transfusion science - .09 Direct antiglobulin test; Direct Coombs Test; 1) Manual Microcolumn Agglutination Biovue 2) Automated Method Microcolumn Agglutination Biovue on Ortho Vision/Vision Max Analysers; Based on standard method; Positive ( 0.5, 1,2,3,4) reaction strengths & Neg results (0); 1) GBTE/ABID/SOP/006 2) GBTE/VIS/SOP/006. Monospecific Coombs Test; Manual Microcolumn Agglutination Biovue; Based on standard method; Positive ( 0.5, 1,2,3,4) reaction strengths & Neg results (0); GBTE/ABID/SOP/006. The hospital blood bank has been assessed and is competent to comply with Articles 14 and 15 of the EU Directive 2002/98/EC (S.I. 360/2005 and S.I. 547/2006)... |  |