## Mechanical
Code | ST5CRM-Class-Mech
Issue 4 | September 2019
Classification | Testing Laboratories
Sub Classification | Mechanical
Standard | ISO 17025 T
FIXED TEXT | Descriptor 1 |  | Descriptor 2 | FREE TEXT
Code | Product Categories | Sub-Code | Tests | Level 1 Heading | Level 2 Heading | Level 3 Heading | Level 4 Heading | Level 5 Heading
Level 1 Descriptions | Level 1 Descriptions | Level 2 Descriptions | Level 2 Descriptions | Test Detail | Product Detail | Range of Measurement | Equipment/Technique | Std. Ref & SOP
1101 | Metals and Metal Products | 0.01 | Sampling
|  | 0.11 | Tension tests on tests pieces
|  | 0.12 | Stress rupture tests
|  | 0.15 | Tension tests on products
|  | 0.21 | Brinell hardness test
|  | 0.22 | Rockwell hardness tests
|  | 0.23 | Vickers hardness tests
|  | 0.24 | Microhardness tests
|  | 0.25 | Superficial Rockwell hardness tests
|  | 0.26 | Rebound hardness tests
|  | 0.31 | Impact tests
|  | 0.41 | Drop weight tests
|  | 0.45 | Fracture toughness tests
|  | 0.51 | Compression, transversse and shear tests
|  | 0.58 | Bend tests
|  | 0.61 | Reinforcement test
|  | 0.71 | Tests on wires
|  | 0.81 | Tests on tubes
|  | 0.99 | Other tests
1102 | Metal powers and sintered products | 0.99 | Other tests
1103 | Welds and welded test specimens | 0.11 | Tension tests
|  | 0.21 | Hardness tests
|  | 0.31 | Impact tests
|  | 0.41 | Drop weight tests
|  | 0.45 | Fracture toughness tests
|  | 0.51 | Shear tests
|  | 0.58 | Bend tests
|  | 0.61 | Fillet-break tests
|  | 0.62 | Nick-break tests
|  | 0.71 | Cracking tests
|  | 0.81 | Corrosion tests
|  | 0.91 | Macroscopic examinations
|  | 0.99 | Other tests
1105 | Lifting gear and tensioning and staying systems | 0.11 | Proof tests
|  | 0.21 | Tension tests
|  | 0.99 | Other tests
1106 | Fibre Rope and Cordage | 0.11 | Tension tests
|  | 0.99 | Other tests
1107 | Energy Absorbing Devices | 0.11 | Tension tests
|  | 0.12 | Compression tests
|  | 0.13 | Torsion tests
|  | 0.99 | Other tests
1108 | Threaded fasteners | 0.11 | Tension tests
|  | 0.12 | Proof tests
|  | 0.13 | Tension-torque tests
|  | 0.14 | Stripping tests
|  | 0.15 | Torsion tests
|  | 0.21 | Drive tests
|  | 0.99 | Other tests
1109 | Timber and timber products | 0.11 | Bending tests
|  | 0.21 | Stress grading timber tests
|  | 0.99 | Other tests
1119 | Assemblies | 0.01 | Weight of structures and assemblies
|  | 0.02 | Centre of gravity of structures and assemblies
|  | 0.49 | Other tests
1120 | Building boards and plywood | 0.99 | Other tests
1126 | Textiles and related products | 0.01 | Sampling
|  | 0.11 | Tension tests
|  | 0.12 | Tear tests
|  | 0.13 | Burst tests
|  | 0.14 | Flammability tests
|  | 0.99 | Other tests
1127 | Pulpwood, pulp, paper, paperboard and products | 0.01 | Sampling
|  | 0.11 | Tension tests
|  | 0.12 | Tear tests
|  | 0.13 | Burst tests
|  | 0.14 | Compression tests
|  | 0.15 | Permeability
|  | 0.16 | Liquid absorption
|  | 0.17 | Surface properties
|  | 0.19 | Optical properties
|  | 0.48 | Mechanical properties
|  | 0.49 | Physical tests
|  | 0.6 | Visual assessment
|  | 0.99 | Other tests
1128 | Rubber and related products | 0.01 | Sampling
|  | 0.11 | Tension tests
|  | 0.12 | Tear tests
|  | 0.13 | Tension set tests
|  | 0.14 | Compression set tests
|  | 0.15 | Hardness tests
|  | 0.16 | Flexing tests
|  | 0.17 | Low temperature brittleness
|  | 0.21 | Ageing and environmental tests
|  | 0.22 | Tear tests
|  | 0.31 | Flammability tests
|  | 0.41 | Swelling in liquids
|  | 0.46 | Density and specific gravity
|  | 0.49 | Other tests
|  | 0.51 | Belting
|  | 0.99 | Other products
1129 | Plastic and related products | 0.01 | Sampling
|  | 0.11 | Tension tests
|  | 0.12 | Tear tests
|  | 0.13 | Burst tests
|  | 0.14 | Impact tests
|  | 0.15 | Hardness tests
|  | 0.16 | Low temperature tests
|  | 0.17 | Heat distortion tests
|  | 0.18 | Bend tests
|  | 0.19 | Shear tests
|  | 0.2 | Compression tests
|  | 0.21 | Flammability tests
|  | 0.22 | Specific gravity
|  | 0.23 | Ageing and environmental tests
|  | 0.24 | Wear and abrasion tests
|  | 0.31 | Flow properties
|  | 0.99 | Other tests
1130 | Leather and leather products
1131 | Gaskets, seals and packing
1132 | Adhesives, tapes and sealers
1134 | Barrier materials
1135 | Pedestrian surfaces
1136 | Wool | 0.01 | Sampling
|  | 0.02 | Conditioning
|  | 0.1 | Fibre diameter
|  | 0.2 | Yield
|  | 0.21 | Length and strength
|  | 0.22 | Colour
|  | 0.23 | Test certificates
|  | 0.99 | Other tests
1141 | Motor Vehicles | 0.02 | Side door strength
|  | 0.03 | Hydraulic braking systems
|  | 0.05 | Motor cycle and moped braking systems
|  | 0.07 | Child restraint anchorages
|  | 0.1 | Commercial vehicle braking system
|  | 0.11 | Mechanical connections between vehicles
|  | 0.14 | Seat strength, seat anchorage strength and padding
|  | 0.16 | Occupant protection in buses
|  | 0.17 | Full frontal vehicle occupant protection
|  | 0.18 | Seat belt assemblies
|  | 0.99 | Other tests
1143 | Protective Clothing | 0.01 | Physical tests
|  | 0.02 | chemical tests
|  | 0.99 | other tests
1144 | Mechanical tests on assemblies
|  | 0.01 | Windows and doors
|  | 0.02 | Wall, floor and ceiling panels
|  | 0.05 | Trusses
|  | 0.11 | Cranes
|  | 0.21 | Insulator and conductor fittings
|  | 0.22 | Transmission towers
|  | 0.31 | Aircraft structures
|  | 0.41 | Structural bearings
|  | 0.5 | Toys
|  | 0.52 | Playground equipment
|  | 0.54 | Sporting goods
|  | 0.6 | Cots
|  | 0.62 | Highchairs
|  | 0.64 | Prams and strollers
|  | 0.7 | Ladders
|  | 0.81 | Slide fasteners
|  | 0.9 | Fences, gates and guardrails
|  | 0.92 | Safes
|  | 0.99 | Other assemblies
1146 | Packages and containers | 0.01 | Physical tests
|  | 0.02 | chemical tests
|  | 0.99 | other tests
1147 | Plumbing and drainage fittings
1148 | Furniture
1150 | General Non Explosive Stores and Equipment | 0.01 | Environmental Tests
1151 | Connectors | 0.01 | Environmental Tests
1164 | Pipelines
1165 | Pipes, hoses, valves and fittings | 0.11 | Hydraulic pressure tests
|  | 0.12 | Pneumatic pressure tests
|  | 0.13 | Head loss tests
|  | 0.99 | Other tests
1166 | Cylinders and other pressure vessels | 0.11 | Hydrostatic pressure tests
|  | 0.12 | Pulsating pressure tests
1167 | Air and gas filters
1168 | Respiratory protective devices
1169 | Controlled environments | 0.01 | Physical tests
|  | 0.02 | chemical tests
|  | 0.99 | other tests
1175 | Fans and Blowers
1176 | Compressors
1177 | Pumps
1178 | Engines
1179 | Industrial, earth moving and agricultural vehicles
1185 | Cutting tools
1186 | Hand tools
1190 | Microstructural tests on ferrous materials | 0.11 | Grain size
|  | 0.12 | Case depth and depth of decarburisation
|  | 0.13 | Depth of surface defects
|  | 0.14 | Non-metallic inclusion content
|  | 0.15 | Macroscopic examination of steels
|  | 0.16 | Graphite type and distribution of cast irons
|  | 0.17 | Corrosion resistance of austenitic stainless steels
|  | 0.99 | Other tests
1191 | Microstructural tests on aluminium and aluminium alloys | 0.11 | Grain size
|  | 0.12 | Depth of cladding
|  | 0.13 | Macroscopic examination of wrought products
|  | 0.14 | Depth of surface defects
|  | 0.15 | Anodizing thickness
|  | 0.21 | Tests on welds
|  | 0.99 | Other tests
1192 | Microstructural tests on copper and copper alloys | 0.11 | Grain size
|  | 0.12 | Proportion of phases
|  | 0.13 | Resistance to stress corrosion cracking
|  | 0.14 | Hydrogen embrittlement
|  | 0.15 | Depth of surfance defects
|  | 0.16 | Susceptibility of brass to dezincification
|  | 0.99 | Other tests
1193 | Microstructural tests on other metals and alloys | 0.11 | Grain size
|  | 0.12 | Depth of surface defects
|  | 0.99 | Other tests
1194 | Coatings
1195 | Mechanical tests on vehicles
1196 | Mechanical tests on general equipment
1197 | Mechanical tests on buildings
1198 | Floating offshore systems | 0.01 | Response amplitude operator testing

## Scope Guidance
CAB Guidance for Mapping from 2016 scope to INAB CRM
Columns 1 and 2 are fixed text within the INAB system
Columns 3-6 are free text completed by the CAB
Columns 1-4 are PRINTED on the scope
Columns 1-6 are VISIBLE to INAB and the CAB
Note: not all columns are applicable to all scope types
Previous P9 Chapter 11
A site is a location under the control of the CAB where conformity assessment activity covered by the scope of accreditation is performed
1 | 1101 to 1145 are largely unchanged. Where product types were included, these have been extracted and are presented below as product/matrix guidance
2 | 1195 and 1196 are new categories
3 | The following list of matrice/items tested is presented as examples
4 | Where no tests specified, can add physical/chemical/other tests in free text and elaborate
| Code | Product Category | Possible Matrices/Items Tested
| 1104 | Lifting gear and tensioning and staying systems | Lifting appliances, anchorages, chain, wire rope, fibre rope, synthetic webbing flat slings, chain slings,etc
| 1107 | Energy absorbing devices | Springs
| 1120 | Timber and timber products | Particle boards, hardboard, plywood, other building boards
| 1121 | Glass and glass products | Glass, glass products, glass fibre
| 1123 | Gypsum and gypsum products | Gypsum plaster, plaster boards, other products
| 1126 | Textiles and related products | Webbing, carpets, wool packs, fibre, yarn, fabric, other products
| 1129 | Plastic and related products | Flexible foams, rigid foams, plastic films, pipe and related products, decorative laminates, cables, fibre reinforced plastics
| 1143 | Protective Clothing | Safety boots and shoes, gloves, helmets, eye protector, hearing protectors, flotation devices, other
| 1141 | Motor Vehicles | Door latches and hinges, seat anchorages, seat belts, hydraulic brake hoses, steering columns, mirrors, fuel systems, head restraints, tyres, etc
| 1169 | Controlled environments | Clean rooms and work stations, biological safety cabinets, fuume cupboards, air conditioning systems
| 1186 | Hand tools | Pliers, torque wrenches, screwdrivers, hammers, saws, etc
| 1194 | Coatings | Metallic, conversion, organic
FLEXIBLE SCOPE
for laboratories with a flexible scope, the following footnotes apply (without variation):
1 Range of measurement may be extended
2 Parameters may be added
3 Test matrices may be added
4 Equipment/kit