|  |  |  |  |  |  | Schedule of Accreditation. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Organisation Name. |  |  |  |  | Teagasc Food Research Centre. |  |  |
|  |  |  |  | Trading As. |  |  |  |  | Teagasc. |  |  |
|  |  |  |  |  | INAB Reg No. |  |  |  | 323T. |  |  |
|  |  |  |  | Contact Name. |  |  | Nooshin Vahedi Kia. |  |  |
|  |  |  |  |  | Address. |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | Technical Services Laboratory, Moorepark, Fermoy, Cork, P61 C996. |  |  |
|  |  |  |  |  | Contact Phone No. |  |  |  |  |  |
|  |  |  |  |  | Email. |  |  |  | Nooshin.VahediKia@teagasc.ie. |  |  |
|  |  |  |  |  | Website. |  |  |  | http://www.teagasc.ie. |  |  |
|  |  |  |  |  | Accreditation Standard. |  |  |  | EN ISO/IEC 17025 T. |  |  |
|  | Standard Version. |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | 2017. |  |  |  |
|  | Date of award of accreditation. |  |  | 10/06/2014. |  |  |  |
|  |  |  |  |  | Scope Classification; Chemical Testing. |  |  |  |
|  |  |  |  | Services available to the public¹. |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Yes. |  |  |
|  |  | ¹ Refer to document on interpreting INAB Scopes of Accreditation. |  |  |  |  |
|  |  |  | Sites from which accredited services are delivered. (the detail of the accredited services delivered at each site are on the Scope of Accreditation). Name; Address. 1; Head Office; Technical Services Laboratory, Moorepark, Fermoy, Cork, P61 C996. |  |  |  |  |

|  |  | Scope of Accreditation. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Head Office. Chemical Testing. Category: A. Chemistry Field - Tests; Test name; Analyte; Range of measurement; Matrix; Equipment/technique; Standard reference/SOP. 751 Food testing - .03 Compositional analysis; Fat in liquid and powdered milk; Fat; LM 0.5 to 8.0 g/100g PM 0.1 to 60 g/100g; Liquid and powdered milk; Rose-Gottlieb Method; In-house procedure MPQM 6.1 based on ISO 23318:2022 IDF 249:2022. Protein in liquid and powdered milk; Protein; 0.3 to 95.7 g/100g; Liquid and powdered milk; Kjeldahl (semi-micro rapid routine method); In-house procedure MPQM 6.4 based on ISO8968-3/IDF20-3:2004. 0.3 to 95.7 g/100g; Liquid and powdered milk; FOSS Kjeltec 9/ Kjeldahl (semi-micro rapid routine method); In-house procedure MPQM 6.4 based on ISO8968-3/IDF20-3:2004. Total Solids in liquid milk; Total solids; 0.5 to 15 g/100g; Liquid milk; Oven drying; In-house procedure MPQM 6.2 based on ISO 6731:2010/IDF 21:2010. |  |