## Heat & Temp & Humidity
Code | ST10CRM- Class-Temp
Issue 2 | September 2019
Classification | Testing Laboratories
Sub Classification | Heat, Temperature and Humidity Testing
Standard | ISO 17025 T
FIXED TEXT |  |  |  | FREE TEXT
| Descriptor 1 |  | Descriptor 2
Code | Field | Sub code | Type of Test | Level 1 Heading | Level 2 Heading | Level 3 Heading | Level 4 Heading
Level 1 Descriptions | Level 1 Descriptions | Level 2 Descriptions | Level 2 Descriptions | Equipment/Product Tested | Test Description/Measurand | Range of Measurement | Std. Ref & SOP
501 | Temperature controlled enclosures | .01 | Functional
|  | .02 | Mechanical tests
|  | .03 | Measurement tests
|  | .99 | Other
502 | Thermal properties of materials | .01 | Determination of thermal properties
|  | .02 | Thermal conductivity
|  | .03 | Thermal expansion
|  | .04 | Specific and latent heat
|  | .99 | Other tests
503 | Fire prevention systems | .01 | Functional
|  | .02 | Mechanical tests
|  | .03 | Measurement tests
|  | .99 | Other
504 | Fire detection systems | .01 | Functional
|  | .02 | Mechanical tests
|  | .03 | Measurement tests
|  | .99 | Other
505 | Fire tests | .01 | Combustibility
|  | .02 | Flammability
|  | .03 | Ignitability
|  | .04 | Spread of Flame
|  | .05 | Heat Evolved
|  | .06 | Fire Resistance
|  | .07 | Fire propogation
|  | .08 | Smoke release
|  | .99 | Other tests
506 | Performance tests | .01 | Gas consumption
|  | .02 | CO/CO2 ratio
|  | .03 | Vitiation tests
|  | .04 | Slip of unburnt gas
|  | .05 | Flue draft and spillage
|  | .06 | Emission tests
|  | .11 | Thermal efficiency, radiant efficiency
|  | .12 | Temperature hazards
|  | .13 | Oven baking evenness
|  | .14 | Heat flux
|  | .15 | Cooking oil temperature test
|  | .16 | Cabinet temperature
|  | .17 | Ice making test
|  | .18 | Heat resistance, durability
|  | .19 | Flue gas temperatures
|  | .2 | Stratification tests
|  | .22 | Flow rate
|  | .23 | Voltage variation
|  | .24 | Fan performance
|  | .25 | Temperature variation
|  | .31 | Wind generator tests
|  | .32 | Rain test
|  | .33 | Energy efficiency
|  | .41 | Hydrostatic pressure tests
|  | .42 | Resistance to kinking, pull, bending, flexing, ageing, ignitability and gas
|  | .43 | Resistance to corrosion, water, drying, vibration and gas
|  | .44 | Resistance to hydrocarbons, oxygen
|  | .51 | Visual inspection
|  | .52 | Gas leakage
|  | .53 | Ignition and flame safeguard tests
|  | .54 | Lighting tests
|  | .55 | Drying performance
|  | .56 | Heating up time
|  | .57 | Safety shut down
|  | .61 | Mechanical strength and operating effort
|  | .62 | Mechanical stability
|  | .63 | Surface temperatures
|  | .64 | Hea output, efficienc
|  | .65 | Fuel consumption
|  | .66 | Radiant heat output
|  | .67 | Heat exchangers
|  | .68 | Clearance tests (installations)
|  | .69 | Determination of gaseous emissions in flue
|  | .70 | Particulates in flue gas
|  | .71 | Performance of components
|  | .72 | Surface temperature
|  | .73 | Air temperature
|  | .74 | Liquid temperature
|  | .75 | Boiling time and efficiency
|  | .76 | Heat loss and heat-up time
|  | .77 | Temperature control
|  | .78 | Pull down time
|  | .79 | Ice-making tests
|  | .80 | Catalytic cleaning tests
|  | .81 | Thermal shock
|  | .82 | Temperature limits in dryers
|  | .83 | Temperature distribution
|  | .84 | Steaming rate
|  | .85 | Moisture removal and evaporation rate
|  | .86 | Microwave energy distribution
|  | .87 | Total head output
|  | .88 | Radiant heat output
|  | .89 | Energy efficiency
|  | .90 | Electrical voltage, current, power
|  | .91 | Electrical energy consumption
|  | .92 | Strength and dimensions of guarding
|  | .93 | Strength and dimension of components
|  | .94 | Surface areas
|  | .95 | Cabinent and chamber volumes
|  | .96 | Stability
|  | .97 | Endurance and life tests
|  | .98 | Sealing and cleaning of enclosures
|  | .99 | Air flow velocity and volume
|  | .100 | Load capacity
|  | .101 | Water consumption
|  | .102 | Cycle times
|  | .103 | Washing or soil removal
|  | .104 | Drying effectiveness
|  | .105 | Whiteness retention
|  | .106 | Rinsing effectiveness
|  | .107 | Water extraction effectiveness
|  | .108 | Water pressure range
|  | .109 | Mechanical shock
|  | .110 | Vibration
|  | .111 | Pressure measurement
|  | .112 | Colour chart and grey scale comparisons
|  | .113 | Food preparation and cooking tests
|  | .114 | Sensible cooling effect
|  | .115 | Dehumidifying effect
|  | .116 | Total cooling effect
|  | .117 | Sensible heating effect
|  | .118 | Volumetric air flow rate
|  | .119 | Electrical energy consumption
|  | .120 | Thermal capacity check tests
|  | .121 | Maximum operating tests
|  | .122 | Freeze-up tests
|  | .123 | Enclosure sweat tests
|  | .124 | Condensate disposal tests
|  | .125 | Electrical rating and starting tests
|  | .126 | Noise measurements
507 | Hygrometry | .01 | Measurment of relative humidity
|  | .02 | Measurement of dew point
|  | .99 | Other tests
Note on F29: Andrew Stratford: Nothing to do with heat or temperature, but OK to be in here I suppose
Note on B43: Andrew Stratford: Maybe this sould be several entries, like 'Performance tests on gas appliances,' 'Performance tests on oil appliances,' etc.

## Scope Guidance
CAB Guidance for Mapping 2016 Scopes to INAB CRM
Columns 1 and 2 are fixed text within the INAB system
Columns 3-6 are free text completed by the CAB
Columns 1-4 are PRINTED on the scope
Columns 1-6 are VISIBLE to INAB and the CAB
Note: not all columns are applicable to all scope types
Previous P9 Chapter 5
The laboratory will retain a list of products tested
A site is a location under the control of the CAB where conformity assessment activity covered by the scope of accreditation is performed
The following cross references the changes from old and new classifications systems to enable mapping
| Code | Previous
| 501 | 510
| 502 | 520
| 503 | 530
| 504 | 531
| 505 | 540, 541, 542
| 506 | 550, 552, 553, 554, 556, 558
| 507 | 560
Equipment Tested (examples only)
Ovens, furnaces and baths
Incubators
Autoclaves and sterilising ovens
Industrial freezers
Thermally released links
Fire extinguishers
Fire sprinkler heads
Heat and smoke release vents
Heat detectors
Smoke detectors
Flame detectors
Building materials and structures
Textiles and related materials
Plastic and plastic products
Gas appliances and components
Oil appliances and components
Solid fuel appliances and components
Electrical appliances and components
Solar appliances and components
Air conditioning units and components
FLEXIBLE SCOPE
for laboratories with a flexible scope, the following footnotes apply (without variation):
1 Range of measurement may be extended
2 Parameters may be added
3 Test matrices may be added
4 Equipment/kit
Note on A33: Andrew Stratford: Nothing to do with heat or temperature, but OK to be in here I suppose