## Slide 1: Welcome
Calibration forum 2018
Dublin Castle.

## Slide 2: Agenda for the day.
09.00 | Welcome and Introduction | Adrienne Duff, Manager of INAB
09.05 | INAB policies relating to: Calibration, Measurement of Uncertainty. ISO17025:2017 | Bríd Burke
09:20 | Calibration and Traceability. | David Fleming
11.00 | Coffee | 
11.30 | Reference materials and Calibration | Pat O’Brien
12.30 | Light lunch will be provided on the day | 
13.30 13.50 | Measurement Uncertainty in Testing Practical example of measurement uncertainty approaches: Clinical Chemistry Chemistry Microbiology | Les Coveney Alison Bransfield Les Coveney Eddie McCullagh
16.00 | Close of Forum | 

## Slide 3: INAB Policy statements relating to Calibration and Traceability.
Bríd Burke
INAB.

## Slide 4: PS 5 Policy on Measurement traceability.
Determination of critical equipment
Calibration of this equipment shall be traceable to the International system of SI units.
Based on ILAC P10
Applicable to both ISO17025 and ISO15189 laboratories.

## Slide 5: PS 5 Policy on Measurement traceability.
How to demonstrate measurement traceability ?
National Metrology Institute (CIPM/MRA)
Accredited calibration laboratory.
Certified reference material

## Slide 6: PS 5 Internal Calibrations
A laboratory may carry out internal calibrations in support of accredited activities.
Same technical rigour shall be applied as with an externally accredited laboratory.
Specific technical expertise on the INAB assessment team.
PT participation for Calibration.
Activity in this area reported to INAB.

## Slide 7: PS 4 Performance report
Accredited Calibration laboratories are not permitted to issue non-accredited calibration certificates within their scope of accreditation.
These are performance reports not calibration reports.
Clarity in the marketplace.

## Slide 8: Calibration Scope formats
New policy end June on the website
Harmonise the scope formats
  Representation of CMC
  Representation of Units

## Slide 9: ISO17025:2017 – new revision
Meterological traceability (Annex A)
Implementing ILAC P10
No significant changes.

## Slide 10: Transition plan for ISO17025:2017
1 | New applications to ISO 17025:2017 | From July 2018 Pre-assessment/ Assessment from November 2018
2 | Existing accreditations to ISO 17025:2005 | 
 | If your surveillance visit is due Jan-June 2019 | Option to have visit to ISO 17025:2017
 | If your surveillance visit is due Jan-June 2019 | Option to have visit to ISO 17025:2005
 | If your surveillance visit is due June 2019 onwards | Visit will be to ISO 17025:2017